ETHICAL GUIDE FOR VENDORS INCORPORATING THE PRINCIPLES OF THE ETI BASE CODE

DECEMBER 2010

ETHICAL GUIDE FOR VENDORS INCORPORATING THE PRINCIPLES OF THE ETI BASE CODE

MR December 2010

POLICY STATEMENT

ETHICAL STANDARDS

GENERAL REQUIREMENTS

DEFINITION

- EMPLOYMENT IS FREELY CHOSEN

- FREEDOM OF ASSOCIATION AND THE RIGHT TO COLLECTIVE           BARGAINING ARE RESPECTED

3.   HEALTH, SAFETY AND HYGIENE STANDARDS

3.1        Fire safety, Evacuation and Prevention

3.1.2     Smoking Policy

3.1.3     Evacuation Procedures

3.1.4     Provision of Walkways, Stairs and Exits

3.1.5     Fire Protection Equipment

3.2       Machinery/Equipment

3.3       Job Hazard Assessment

3.4       Electrical Safety

3.5       Dust and Fume Extraction

3.6       Chemical Safety

3.7       Lighting Levels

3.8       Medical Provision

3.9          Working Conditions

3.9.1       Workplace

3.9.2       Toilets

3.9.3       Food Hygiene

3.9.4       Storage of Personal Belongings

3.10       Residential Accommodation

3.10.1    Dormitories

3.10.2    Bathrooms

3.10.3    Toilets

3.10.4    Cooking and Eating Facilities

3.10.5    Childcare Facilities

3.11       Care of the Environment

3.11.1    Waste Disposal

3.11.2    Air Emissions

3.11.3    Waste Water Discharge

3.11.4    Asbestos

3.11.5    Chemical Storage

4.     CHILD LABOUR

5.     WAGES AND BENEFITS

6.     WORKING HOURS

7.     DISCRIMINATORY PRACTICES - EQUAL OPPORTUNITIES

8.     REGULAR EMPLOYMENT PROVISION

9.    TREATMENT OF EMPLOYEES AND DISCIPLINARY PROCEDURES

10.  SUB-CONTRACTING

11.  ACKNOWLEDGEMENT FORM

POLICY STATEMENT

It is Arco Limited’s policy to protect and promote the Health, Safety and Welfare of all personnel involved in producing our products worldwide. As members of the Ethical Trading Initiative, Arco are committed to the principles of the ETI Base Code which are based on the standards of the International Labour Organisation.

This document is prepared in order to give guidance and instruction on the minimum and recommended standards acceptable to Arco Limited in the manufacture of their products globally. Vendors applying the content of this document are expected to comply with national and other applicable law and, where the provisions of law and the contents of this document address the same subject, to apply that provision which affords the greater protection.

The document forms part of the standards by which new Vendor factories including sub-contractors will be selected. When a Vendor wishes to use subcontractors or outworkers for Arco production then this must be approved in advance by Arco.

It is the Vendor’s responsibility to ensure and provide evidence that any subcontractor or outworker used conforms to the standards outlined in this document.

All Vendors supplying Arco Limited will be issued with copies of this document and Vendors producing Arco own brand products will be regularly audited against these principles. Arco also reserves the right to audit any non Arco branded Vendor if valid concerns have been raised regarding the working conditions or practices of the Vendor in question.

Any Vendor failing seriously or consistently to adhere to the standards detailed in this document will be removed from the approved Vendor list.

The requirements detailed in this document should be seen as a compliment to, rather than a substitute for collective bargaining or official regulation and the implementation of these requirements must be sensitive to the rights and livelihoods of the workers it is aiming to protect.

ETHICAL STANDARDS

- Arco will identify and establish a working relationship with Vendors whose personal and business standards are compatible with its own.

- Arco expects its business partners to be law abiding as individuals and to be fully compliant with local legal requirements when conducting all of their business activities. Included in this is compliance with the Arco Ethical guide for Vendors.

- Arco will only work with Vendors that provide their employees with a safe and healthy working environment. Vendors must comply fully with the health and safety and labour laws of the country of manufacture as a minimum.

- The dignity of the individual must be recognised by all Arco Vendors. They will not use slave, involuntary prison or forced labour. They should afford the rights of free association and collective bargaining to all employees, and the right to a workplace free of harassment, abuse, degrading treatment or corporal punishment.

- Arco recognises and respects cultural differences and will seek to identify Vendors who employ based on their ability to do the job, irrespective of their gender, racial characteristics, colour, nationality, cultural or religious beliefs, age or marital status.

- The Arco Vendor must comply with national laws and international standards that aim to protect the environment. This applies both in the country of manufacture and in the country in which the product is sold.

- Arco encourages its Vendors to provide training and education for its employees, particularly the younger workers, to enable those employees to better perform their jobs.

GENERAL REQUIREMENTS

Vendors are expected to comply with the relevant laws, industry or collective agreements and any codes of practice.

DEFINITION

The workplace is defined as the place of work in which the Arco brand is visible either through manufacturing or finishing processes and can include factories, manufacturing units, subcontracting units, laundries, packaging manufacturers, embroiderers, processing companies, inspection houses and warehouses.

1      EMPLOYMENT IS FREELY CHOSEN

- The Employer shall use no forced, bonded or involuntary prison labour. Arco Limited does not condone and WILL NOT be party to any form of forced or involuntary labour.

- Employees shall not be required to lodge “deposits” or their identity papers with their Employer for any reason and this should include hiring, accommodation, tools and personal protective equipment.

- Employees shall be free to leave manufacturing or residential facilities at any time when not working.

- Employees shall be allowed to consult with medical personnel during working hours.

- Employees shall not be required to pay for any tools used in the execution of their duties, or items required for their personal safety.

- Loans provided by the Employer to the Employee shall be subject to a mutual agreement between the two parties in writing, the signed document confirming clear repayment terms which are at an affordable and realistic repayment rate.

2    FREEDOM OF ASSOCIATION AND THE RIGHT TO COLLECTIVE BARGAINING ARE RESPECTED

- Employees without distinction shall have the right to join or form trade unions of their own choosing and to bargain collectively.

- The Employer shall adopt an open attitude towards the activities of trade unions and their organisational activities.

- The Employer shall ensure that employee representatives are not discriminated against and have access to carry out their representative functions in the workplace.

- Where the right to freedom of association and collective bargaining is restricted under law, the Employer facilitates, and does not hinder, the development of parallel means for independent and free association and bargaining.

3.	HEALTH, SAFETY AND HYGIENE STANDARDS

It must be the aim of all vendors to continually work towards reducing accidents and maintaining the welfare and safety of their Employees.

Adequate training should be provided by the Employer in the safe and proper use of equipment and machinery, ensuring that awareness is raised on the potential risks involved in its use. Full training should be provided for all new employees upon starting work and should continue for the duration of their employment, particularly where equipment and processes are subject to change, or an Employee’s duties have changed. It is of particular importance to ensure that additional training is given to Employees on duty where an accident has occurred.

A senior manager should be assigned by the Employer to be responsible for the health, safety, hygiene and welfare requirements of all the premises in which they operate.

All necessary information, instruction, training and supervision to ensure, as far as is reasonably practicable, the health and safety at work of all employees, should be provided by the Employer. Full training records should also be kept for each individual Employee.

3.1	Fire Safety, Evacuation and Prevention

3.1.2 Smoking Policy

- A policy on smoking shall be developed by the Employer and communicated to all Employees.

- “No smoking” signs shall be posted in all areas where smoking is prohibited.

3.1.3 Evacuation Procedures

- The Employer shall establish a written evacuation procedure which every Employee is made aware of and which covers emergencies such as fire, chemical spillage, natural disaster and electricity failure.

- All Employees must know how to evacuate the building in the event of an emergency.

- Emergency drills shall be conducted on at least an annual basis to ensure employees maintain their understanding of the evacuation procedures. These shall cover both the workplace and dormitories.

- Records should be kept on the extinguishers, date of last inspection and credentials of the inspection agency.

3.1.4  Provision of Walkways, Stairs and Exits

- All fire emergency exits shall be clearly marked and free from obstruction at all times and easily opened.

- Walkways must be marked out to provide easy safe access within the manufacturing areas and should enable quick and safe evacuation of the workplace in case of an emergency. These shall be at least one metre wide and should be kept free from obstruction and tripping hazards.

- Stairs shall have adequate and secure handrails.

- There should be at least two emergency exits on each floor.

- Floor and roof openings shall be covered or guarded to prevent falling.

3.1.5  Fire Protection Equipment

- A minimum of one fire extinguisher with adequate extinguishing instruction shall be provided within every 25 metres in distance.

- Emergency lighting shall be provided on all escape routes within the workplace and dormitories in case of power failure.

- Fire alarms shall be provided on all floors to warn staff of evacuation in both workplace and dormitories.

- Fire equipment shall be immediately accessible and free from obstruction at all times.

- Fire extinguishers, hydrants, hose reels, sprinklers, smoke/heat detectors, emergency lights and fire alarms should be inspected monthly for damage, pressure loss and obstruction by qualified personnel, who shall regularly maintain such equipment [at least annually].

- Records shall be kept on fire extinguishers detailing date of last inspection, which should be signed by a qualified Employee.

3.2	Machinery/Equipment

- Employers must ensure that all machinery and equipment provided for work is suitable for the intended purpose and maintained in working order and good repair. Any machinery that presents a danger must be securely guarded.

- Fixed guards should be used whenever possible on moving parts that could cause injury. The guards should be properly fastened in place with screws or nuts and bolts which need tools to remove them.

- Equipment shall be clean and well maintained and a maintenance programme shall be in place for all safety devices and guards.

- All electrical connections shall be inspected regularly to ensure that no faults are evident.  This should be carried out by qualified personnel, with a record kept of details and date of inspection. If visual or mechanical faults occur, then only trained personnel should carry out the necessary repairs.

- Where fitted, all emergency stop buttons shall be clearly labelled.

- All sharp implements used in production shall be secured to the work benches with all pieces of broken sewing needles entered into a Broken Needle Register, which includes:

	1.  Operative name
	2.  Date/time of breakage/replacement
	3.  Acknowledgement of all pieces found
	4.  Physical evidence of broken needle (all parts) attached to Register

5. Replacement authorised/signed by supervisor

- Portable heating appliances shall be positioned safely.

- Hoists, pressure vessels, boilers and forklifts shall be regularly inspected and maintained, with maintenance records kept and updated. Forklifts should be operated by authorised personnel only.

- Service lines including steam/compressed air and hot water pipes and tanks shall be regularly inspected and properly maintained.

- Permit- to- work programmes shall be implemented for electricity, pipe and tank work, as well as work on fire protection equipment and for any welding work required.

- Welding cylinders shall be equipped with flame arrestors and check valves.

- Gas cylinders shall be securely fixed and separated from volatile substances that may constitute a fire risk.

- Explosion proof equipment shall be used in areas where flammable materials are stored.

3.3   Job Hazard Assessment

- Personal protective equipment must be made available to any Employee, free of charge, whenever there is a risk to their health and safety that cannot be controlled by an alternative method.   Examples include gloves, coveralls, respiratory, hearing and eye protection.

- Protective equipment shall always be stored in the correct allocated place to ensure it is always available and to prevent any unnecessary damage or misuse.  Training must be given to workers to ensure they wear these protective items correctly.

- Signs shall be posted where personal protective equipment is required and use of such equipment is mandatory.

- The Employer must ensure the equipment is kept clean, maintained regularly and is used.

- Chain mail gloves shall be provided when using electrical cutting equipment in the cutting process and should be worn at all times when using the cutting equipment.

- In hazardous areas such as high voltage, confined space, extreme temperatures and asbestos, warning signs shall be posted.

- When noise levels are likely to be higher than recommended levels [80 decibels should be considered the maximum level] the Employer shall appoint a qualified person to conduct noise assessment.

- In situations where Employees are exposed to higher than recommended noise levels for extended periods the Employer shall reduce or eliminate the noise source if possible. Otherwise adequate hearing protection shall be provided and hearing examinations conducted annually.

- A noise control zone shall be defined where noise exceeds the recommended level for 8 hours or equivalent.

- No Employee should be required to lift, carry, push or pull any load which could harm them. The personal abilities and physical strength of the individual should be taken into account when deciding this, as well as the nature of the load, task and environment.

- Where possible manual handling should be minimised by providing mechanical handling equipment. Job rotation should be used where repetitive strain injuries could be a risk.

3.4   Electrical Safety

- Only trained staff should be allowed to work with electricity, with all electrical systems being maintained in order to prevent danger at all times. Work should not be carried out on live systems unless there is no alternative.

- All portable electrical devices shall be tested and checked by a qualified person annually. The same equipment shall be earthed with the power connection securely fixed with a socket.

- Qualified electricians shall maintain electrical equipment and supply.

- Access to the mains electricity supply shall be free from obstacles, with warning signs, properly maintained, with unauthorised access prohibited.

- No live wires should be exposed.

- Only full waterproof appliances should be used outdoors.

3.5	  Dust/Fume Extraction

- Extraction of dust fumes or harmful vapours must be available to ensure that adequate fresh air is provided.  Windows or other openings may provide ventilation, but mechanical extraction systems should be installed and maintained if sufficient fresh air is not available.

3.6   Chemical Safety

- The Employer should aim to minimise the use of hazardous substances and eliminate where possible.

- Chemicals or other such substances which are hazardous to health must be identified and labelled with warning signs in accordance with there chemical properties and legislative requirements.

- Employees exposed to substances hazardous to their health must be made aware of the health risks associated with exposure to such substances through training, instruction and written information made available. They should also be familiar with the precautions necessary for their protection against such substances.

- Material Safety Data Sheets [MSDS] must be held for all chemicals, with the contents communicated to Employees.

- The correct personal protective equipment [PPE] shall be provided for handling chemicals.

- Spill kits and/or absorbents should be available in chemical storage areas.

- Eye washing equipment should be provided in areas where chemicals are used in order to minimise the health effects of chemical splash.

3.7	  Lighting Levels

- Adequate lighting levels must be provided which includes hours worked during normal hours of darkness.

- Light at point of operation must be a minimum of 1000 lux with a general background level of 700 lux.

- An independent power source should be available to provide emergency lighting if power failure occurs to the normal supply, which shall enable employees to exit safely.

- Bulbs must be correctly installed and fitted securely, with guards over them to ensure that broken glass does not injure Employees or contaminate production.

3.8	  Medical Provision

- Adequate and appropriate first aid facilities must be provided by the Employer for their Employees in case of injury or illness at work.

- Accident procedures should be put in place which cover accident reporting and logging, accident investigation and analysis, so that ongoing prevention of accidents can be achieved.

- There shall be at least one trained first-aider in the workplace on each floor and on each shift to administer the necessary first aid treatment when required. At least one trained first aider should be required per 50 Employees in workplaces of under 100 Employees. For workplaces in excess of 100 Employees, a ratio of one trained first aider for every 100 Employees or part thereof.

- Records should be kept of the training received.  The trained person should also ensure that the first aid equipment is stored in an accessible place and is fully stocked at all times.

- It is good practice to ensure that any injury or accident, which has been treated, is recorded in a book.  This will then provide vital information on accident trends and possible areas of the factory which could be made safer.

- First aid supplies are available and managed by trained designated staff.

- Fully stocked first aid boxes should be situated in all workplaces with clear signage indicating there location.

- All first aid must be supplied and administered to Employees free of charge.

- All Employees using respiratory equipment in the workplace should be subject to annual medical examination on their respiratory systems.

- For those Employees working in areas that are exposed to excessive noise levels for 8 hours or equivalent should be subject to annual medical hearing examinations.

- An accident reporting process shall be established and communicated to all employees, with all accidents being reported, investigated, documented and reviewed.

3.9  Working Conditions

A safe and healthy workplace must be provided with a good standard of general housekeeping, cleanliness and factory organisation being achieved and maintained. This will include general tidiness, the provision of clear walkways, and of receptacles for waste which should be regularly emptied.

A formalised preventative pest control programme shall be in place with suitably trained staff carrying out inspection and control.

3.9.1  Workplace

- The workplace must be clean, safe and of sound build, design and structure.

- Clean drinking water must be provided and be readily available to all Employees at all times.

- A good level of lighting and ventilation must be in place.

- Employees must be protected from extreme temperatures.

3.9.2  Toilets

- An adequate number of enclosed toilets must be provided with a minimum ratio of 1 for 50 Employees.  There shall be separate facilities for male and female.  
In the case of men, urinals may be provided, in which case, enclosed toilets for men may be reduced to 1 for every 60 male employees.

- The toilets should be private and separate from manufacturing or rest areas with clear signage indicating male and female facilities.

- They should be tiled, kept to a good level of hygiene at all times and equipped with flushing water.

- Facilities should be provided for hand washing and drying. Running water must be provided in or close to the toilet for cleaning purposes.

3.9.3   Food Hygiene

- An area separate from manufacturing shall be provided for the consumption of meals.

- The area must provide an adequate level of ventilation, light, seating and protection from the elements.

- Food storage and preparation areas shall be clean and hygienic with adequate clean-up facilities for use after meals.

- Where cooking takes place on-site, the food preparation staff shall be trained and have an understanding of the importance of hygiene in food handling.

- There must be evidence of a clean and hygienic method for food preparation, storage and subsequent cleaning and sterilisation of used equipment and eating utensils.

- Uneaten food and discarded wrappings etc. must be disposed of daily to avoid promoting vermin or the risk of unsuitable food being eaten by humans.

3.9.4  Storage of Personal Belongings

- Each Employee shall have secure space in which to store their personal belongings which should not be alongside their workstation, but in a designated storage area.

- This area shall ideally consist of individual secure lockers or cages of sufficient volume to hang items of clothing or store personal belongings.

- The area should be clean and tidy and have sufficient space around and under the storage area to allow access for cleaning.

3.10   Residential Accommodation

3.10.1   Dormitories

- Residential accommodation when provided for Employees must be clean, safe [particularly with regard to fire precaution] and provide the necessary space for a person to live in comfortably. Adequate toilet and washing facilities should be provided with clean running water.

- The building shall be structurally sound and properly maintained with safety maintained in the areas of security, fire protection and electrical safety.

- Dormitories shall not be in the same building as the factory but a reasonable distance from it, in order to separate Employees from their working environment.

- Dormitories shall not be crowded and living space should exceed 25ft2 per person, with adequate lighting, heating and ventilation facilities.

- Each Employee should have his/her own bed.

- Sleeping arrangements shall provide adequate space and privacy.

- All fire exits shall be clearly marked and free from obstruction at all times, with appropriate fire extinguishers provided which are regularly maintained. An evacuation plan must be posted and fire drills conducted at least every 6 months.

- If rooms exceed more than 12 people, 2 fire exits shall be provided.

- Lockers shall be provided for personal belongings.

- Employees should be able to leave and enter the dormitory freely and without restriction unless reasonable grounds can be demonstrated for security and safety.

3.10.2   Bathrooms

- Adequate shower facilities must be provided with a minimum of 1 shower for every 12 people.

- Privacy must be maintained with curtains installed in bathroom cubicles and separate facilities allotted for male and female users.

- Hot and cold water shall be provided inside the bathroom facilities.

- Both toilets and showers must have adequate and hygienic drainage facilities.

3.10.3  Toilets

- The number of toilets should be adequate with a minimum of 1 toilet for every 12 people.

- Toilets should be well maintained and in a clean, sanitary condition at all times.

- Toilets shall be equipped with flushing water as well as having facilities for washing with running water.

- There must be at least one male toilet block and one female toilet block for every two floors.

- Toilets should have lockable doors and windows shall be opaque to protect privacy.

3.10.4  Cooking and Eating Facilities

- Food storage and preparation areas shall be clean and hygienic.

- Cooking staff should be trained in food preparation and associated hygiene.

- If food utensils are used they should be cleaned and sterilised after each use.

- Facilities should be provided for comfortable dining and adequate rest.

3.10.5  Childcare Facilities

- Critical care must be taken to ensure that childcare facilities are clean and safe, particularly with regard to fire safety and first aid.

- Childcare facilities must be supervised at all times by a responsible adult and care must be taken to ensure that children are not exposed to risk as a result of accidental access to hazardous workplace activities.

- Full records must be kept of illnesses or injuries.

3.11  Care of the Environment

3.11.1  Waste Disposal

- All waste sources should be identified and procedures developed for the safe disposal of all waste products.

- Hazardous waste should be disposed of correctly and in accordance with national or local authority requirements. Disposal records shall also be maintained.

- Secure areas should be designated for the storage of hazardous waste until safe disposal can be arranged. The containers used for the storage of hazardous should be in good condition and not subject to leakage.

- Sufficient training should be given to relevant staff regarding the handling of hazard waste and this should be updated on an annual basis.

3.11.2  Air emissions

- Sources of air emissions should be identified and monitored in accordance with local and national regulatory requirements.

- In- house air treatment facilities should be regularly maintained in line with pre-determined maintenance programmes. Operating procedures should also be clearly defined and communicated to all relevant staff.

3.11.3  Waste Water Discharge

- Sources of waste water discharge shall be identified and the emissions monitored in accordance with local and national regulatory requirements.

- In –house waste water treatment facilities should be regularly maintained in line with pre-determined maintenance programmes. Operating procedures should also be clearly defined and communicated to all relevant staff.

- Local authority licenses/permits must be held where appropriate.

3.11.4  Asbestos

- The presence of any asbestos in the workplace should be identified and steps taken to ensure its condition is monitored and that it is maintained safely. Anyone working within this environment should be made aware of the presence of asbestos and suitable protection must be used in order to mitigate the effects of such exposure.

3.11.5  Chemical Storage

- Secure secondary containment equivalent to a minimum 110% volume of the largest container shall be provided in chemical storage areas in case of chemical leakage, with no drains allowed in the storage area.

- Chemicals stored in drums must be covered to prevent rainwater contacting the drums.

4. CHILD LABOUR

- It is the policy of Arco not to work with companies who continue to use child labour in any of their facilities. The definition of a “child worker” is someone who has yet to reach their 15th birthday, or any higher age specified in local law for completing mandatory schooling, or the beginning of full time work.

- In countries where the law sets the minimum age at 14 years, under ILO convention 138 in accordance with developing country exceptions, the lower will apply. All young workers shall be subject to restrictions laid down by local legislation.

- There shall be no new recruitment of child labour.

- Vendors will be supported by Arco who are committed to;

- Developing or participating in programmes which provide genuine and meaningful education for existing child labour.

- Who will enable the gradual replacement of child labour with more adult members of their family.

- Are committed to the improvement of wages and conditions for adult workers in order to eliminate the need for child labour.

- An age verification system shall be developed by the Employer in order to confirm the ages of new Employees which should include the checking of original identity documents and cross referencing with Employee photographs.

- A system for periodically spot checking the availability of identity documents shall be set up in order to prevent the use of borrowed identity documents.

- Copies of the age records for all Employees should be kept in the workplace.

- Young persons under 18 years of age shall protected from working in environments where hazardous conditions exist, because they are particularly at risk as a result of their inexperience, immaturity and lack of awareness relative to health and safety issues.

- Full support will be given to Vendors who introduce training, education and workplace measures which enable minimisation of safety risks to young workers and should include;

- The type of work that they are required to carry out should be risk assessed in order to avoid exposure to health and safety risks.

- The fitting and layout of work stations and the workplace should be included in the risk assessment process.

- The nature, degree and duration of any exposure to biological, chemical or physical substances.

- The use and handling of work equipment and machinery.

- The organisation of work processes and activities.

- Ensuring that supervision of young workers does not exceed the ratio of one responsible adult to two young workers.

- There should be no heavy lifting, pressing or any exposure to dangerous chemical and operations.

- A minimum of 20 minutes rest time shall be provided for each 4 hours work for the young workers.

- There should be no night work carried out by young workers, with night being defined as any time after 22.00hrs.

- In situations where young workers cannot leave the workplace because of dependency on company transport, then educational facilities should be provided for the young workers.

5.	WAGES AND BENEFITS

- Wages for a standard working week should meet or exceed national legal standards or industry benchmarks, whichever is higher. In any event wages should always be enough to meet basic needs and to provide some discretionary income.

- All Employees shall be provided with written and understandable information about their wages and benefits before they enter employment and the particulars of their wages for the pay period concerned each time that they are paid. Information should include hours worked or piece rate if appropriate, pay rate, gross pay, overtime pay, itemised deductions and net pay.

- Deductions from wages shall only be permitted if they are required by law or the Employee consents in writing to the deduction.

- Deductions from wages as a disciplinary measure shall not be permitted.

- The Employer should issue labour contracts or a letter of employment for each Employee, which is in compliance with local or national law and which includes; the name of the workplace, Employee name, initial wage and job title. This should be signed by the Employee as acknowledgement of receipt and be retained by both Employer and Employee.

- Documentation should be provided by the Employer which details working hours, work days, rest days, notice period, entitlement to leave and other benefits, that the Employees can refer to at any time.

- In the event of a work stoppage being called by the Employer, the Employees should be paid at a rate that is not less than the minimum wage, unless otherwise specified by legislation.

- Payment in kind is not an accepted form of payment and must not be undertaken.

- All Employers must have a process in place to ensure that full Employee identification is implemented prior to any wage payments being made.

6.	WORKING HOURS

- A schedule for working hours shall be documented and communicated to all Employees.

- Where the wages for Employees are based on total hours worked the Employer shall ensure that a process is in place to record all Employees working time accurately.

- The normal working hours should not exceed 48 hours per week. Working hours and overtime must comply with national laws or benchmark industry standards, whichever affords greater protection.

- Employees shall be provided with at least one days rest each week or 2 days rest from work each fortnight.

- Overtime shall be voluntary and should not exceed 12 hours per week and will not be demanded on a regular basis.

- An Employee should only be requested to work overtime in order to meet reasonable business requirements at such times of peak workload or trading.

- Employees should have the right to refuse overtime work without incurring penalty or negative consequence.

- All overtime should be paid at a premium or the equivalent time given as paid absence at a suitable later date.

- The total hours [including overtime] should not exceed 60 hours in one week.

- Every Employee shall be entitled to a period of paid holiday leave each year.

- Absence from work should be the entitlement of all Employees on the grounds of genuine incapacity through illness or injury, without financial penalty or threat of dismissal. A reasonable payment shall be made to Employees during any such absence which should, as a minimum, meet basic needs.

7.	DISCRIMINATORY PRACTICES -   EQUAL OPPORTUNTIES

- Equality of treatment should be afforded to all Employees as a matter of policy in the workplace and decisions or practices that are based on unfair discrimination, rather than on merit, shall not be acceptable.

- There shall be no discrimination of any form in the hiring, compensation, access to training, promotion, termination or retirement based on race, caste, national origin, religion, age, disability, gender, marital status, sexual orientation, union membership or political affiliation.

- No job applicant should be unfairly refused employment or offered employment on less favourable terms as a result of discriminatory practices.

- Equal access shall be given to all Employees regarding jobs, training, promotion and transfer. Less favourable wages, benefits and access to facilities should not be received as a result of discrimination.

- A policy on discrimination shall be developed and implemented by the Employer covering recruitment, wages, benefits, promotion, training, transfer, termination, retirement and access to facilities.

- No Employee should face, be threatened with, or receive disciplinary action or dismissal on the grounds of discrimination.

- Fair disciplinary procedures should be adopted and adhered to by the Employer.

8.	REGULAR EMPLOYMENT PROVISION

- Whenever possible all workers should enjoy secure stable employment and a regular income.

- The Employer shall issue labour contracts or letters of employment to all Employees which should include as a minimum name of workplace, Employee name, initial wage and job title. These should be signed as acknowledgement of receipt by both Employee and Employer and be retained by both parties.

- All labour contracts issued should be in accordance with local/national legislative requirement.

- Documentation should be provided by the Employer which details working hours, work days, rest days, notice period, entitlement to leave and other benefits which can be referred to by Employees at any time. The contents of this document should also be communicated to Employees.

- No Employer shall demand fees from any Employee for the granting of employment.

- Employees shall not be required to serve unreasonable notice to their Employer and should be free to leave their employment should they wish to.

- It shall be the responsibility of the Employer to ensure that  audits are conducted if hiring agents are used, in order to the employment terms and conditions signed by the hiring agents and Employees are in compliance with local/national legislation and the requirements of the Arco Ethical Guide for Vendors.

- Employers should seek to minimise the practice of seasonal or periodic lay-off of Employees.

- Unacceptable practices include “at will” terminations, termination without notice, zero hour contracts, and inappropriate use of self-employed status for lower grade workers and false apprenticeship.

- Obligations to Employees granted under labour or social security laws and which form the basis of a regular employment relationship shall not be avoided through the use of home working, fixed term contract, sub or labour only contracting.

9.  TREATMENT OF EMPLOYEES AND DISCIPLINARY PROCEDURES

- Physical abuse or discipline, the threat of physical abuse, sexual or other harassment and verbal abuse or other forms of intimidation shall not be allowed.

- It is the direct responsibility of the Employer to protect all Employees from all forms of physical or mental harassment, bullying, discrimination, victimisation or physical abuse in the workplace, whether from colleagues, members of the public or from company management.

- The Employer should develop written grievance and disciplinary procedures for the workplace which are fair and these should be communicated to the Employees. They should be adhered to in all cases of alleged Employee misconduct and be referred to where unsatisfactory performance is suspected.

- The Employer should fully document all communications for workplace grievance and disciplinary actions, with all disciplinary or grievance measures recorded.

- Employees facing disciplinary action shall be able to access an appeal channel which should be developed and implemented in the workplace.

10.   SUB CONTRACTING

- It is the responsibility of the Vendor to ensure that all sub-contractors are in compliance with national and local law in respect of labour, environment and health and safety legislation, as well as the Arco Ethical Guide for Vendors.

- The Vendor shall ensure that the requirements of the Arco Ethical Guide for Vendors are communicated to all sub-contractors used.

- Regular audits should be conducted by Vendors at their sub-contractors to ensure compliance.

Arco Limited

P.O. Box 21

Waverley Street

Hull

HU1 2SJ

Tel:  (01482) 611554

Fax:  (01482) 218536

I have read and received the 19 page document named:

ETHICAL GUIDE FOR VENDORS INCORPORATING THE PRINCIPLES OF THE ETI BASE CODE from Arco Limited

I acknowledge the terms and conditions therein and understand these are part of the contractual conditions of business by Arco Limited and accept that Arco Ltd may need to audit my factory against these standards.

Signed on behalf of:

Printed name:

Position:

Dated:

Please attach business card of signee to this page.

Please complete this form, sign and return to:

Mr Mike Ramirez

Senior Manager - Technical Standards

Arco Limited

Hull