## Reusable Masks
Reusable Facemask Maintenance Log | [5 empty] | Please fill in this log on a monthly basis to ensure your facemask is in good working condition and is still suitable for use. If any of the statements are answered "NO" then please enter a comment and state what has been done to rectify the problem (e.g. valves replaced or facemask temporarily removed from service or facemask permanently removed from service). This maintenance log should be kept for 5 years and a change in facemask during the use of this log should be clearly indicated. Please read the notes below for further guidance related to both the 3M and Sundstrom masks.
Model | 3M 7500 (Half-face) | 3M 6000 (Full-face) | Sundstrom SR100 (Half-face) | Sundstrom SR200 (Full-face)
User
Date of Inspection | Examiner | Is the facepiece free from cracks/dirt? | Is the seal intact (no distortion or cracking)? | Are the inhalation valves free from cracks? | Is the head strap in good condition? | Are the gaskets properly seated? | Is the exhalation valve in good condition? | Is the lens free from scratches and cracks?1 | Is the filter within its expiration date? | Are the valves within expiration date? (Inhalation and Exhalation)2 | Is the facepiece less than 5 years old?3 | PASS | FAIL | COMMENTS
1Full-face only (3M 6000 or Sundstrom SR200)
2Inhalation and exhalation valves should be changed at least every two years after commencement of use, or 6 years after manufacture, whichever is earlier. The exhalation valve has a direct bearing on safety. 3M masks: the year of manufacture can be established by examining the valve markings to be found on the internal surface of the centre adapter cover. The year is indicated by the digit in the segment and the quarter or month of the year by counting the dots on the outer segment. Sundstrom masks: the year of manufacture can be found printed on the valves once the valve cover has been removed.
3The facepiece should be renewed every 3 years in use or 5 years from the date of manufacture whichever is earlier. 3M masks: The date of manufacture of the silicone facepiece of the 7500 can be determined by examining the date grid to be found on the inside, below the exhalation valve. Each dot in the box represents a quarter of the year highlighted. Sundstrom masks: The date of manufacture of the silicone facepiece can be determined by removing the filter and looking at the dial printed on the silicone. The arrow points to the month of manufacture and the number refers to the year.

## Powered Respirators
Powered Respirator Facemask Maintenance Log | [5 empty] | Please fill in this log on a monthly basis to ensure your facemask is in good working condition and is still suitable for use. If any of the statements are answered "NO" then please enter a comment and state what has been done to rectify the problem (e.g. valves replaced or facemask temporarily removed from service or facemask permanently removed from service). This maintenance log should be kept for 5 years and a change in facemask during the use of this log should be clearly indicated. Please read the notes below for further guidance.
Model | 3M Jupiter | 3M Versaflo
User
Date of Inspection | Examiner | Is the headtop free from cracks/dirt? | Is the lens free from scratches and cracks?1 | Is the tubing undamaged and in good condition? | Is the powered unit undamaged and in good condition? | Are the seals for the filters in good condition and seated correctly? | Is the correct filter being used? | Is the filter within its expiration date? | Is the filter free from cracks/damage? | Has a satisfactory flow check been performed? | PASS | FAIL | COMMENTS
1Full-face only (3M 6000 or Sundstrom SR200)

## EXAMPLE
Reusable Facemask Maintenance Log | [5 empty] | Please fill in this log on a monthly basis to ensure your facemask is in good working condition and is still suitable for use. If any of the statements are answered "NO" then please enter a comment and state what has been done to rectify the problem (e.g. valves replaced or facemask temporarily removed from service or facemask permanently removed from service). This maintenance log should be kept for 5 years and a change in facemask during the use of this log should be clearly indicated. Please read the notes below for further guidance related to both the 3M and Sundstrom masks.
Model | 3M 7500 (Half-face) | 3M 6000 (Full-face) | Sundstrom SR100 (Half-face) | Sundstrom SR200 (Full-face)
ü
User | Laura Woodward
Date of Inspection | Examiner | Is the facepiece free from cracks/dirt? | Is the seal intact (no distortion or cracking)? | Are the inhalation valves free from cracks? | Is the head strap in good condition? | Are the gaskets properly seated? | Is the exhalation valve in good condition? | Is the lens free from scratches and cracks?1 | Is the filter within its expiration date? | Are the valves within expiration date? (Inhalation and Exhalation)2 | Is the facepiece less than 5 years old?3 | PASS | FAIL | COMMENTS
2017-08-07 | L Woodward | YES | YES | YES | YES | YES | YES | N/A | YES | YES | YES | ü
2017-09-07 | L Woodward | YES | YES | NO | YES | YES | YES | N/A | YES | YES | YES |  | ü | Small crack in inhalation valve, mask temporarily out of use from 07/09/2017 to 14/09/2017. Replacement valves installed on 14/09/2017.
1Full-face only (3M 6000 or Sundstrom SR200)
2Inhalation and exhalation valves should be changed at least every two years after commencement of use, or 6 years after manufacture, whichever is earlier. The exhalation valve has a direct bearing on safety. 3M masks: the year of manufacture can be established by examining the valve markings to be found on the internal surface of the centre adapter cover. The year is indicated by the digit in the segment and the quarter or month of the year by counting the dots on the outer segment. Sundstrom masks: the year of manufacture can be found printed on the valves once the valve cover has been removed.
3The facepiece should be renewed every 3 years in use or 5 years from the date of manufacture whichever is earlier. 3M masks: The date of manufacture of the silicone facepiece of the 7500 can be determined by examining the date grid to be found on the inside, below the exhalation valve. Each dot in the box represents a quarter of the year highlighted. Sundstrom masks: The date of manufacture of the silicone facepiece can be determined by removing the filter and looking at the dial printed on the silicone. The arrow points to the month of manufacture and the number refers to the year.