# DSEAR Risk Assessment

| Risk Assessment Title |  |
| --- | --- |
| School/ Department |  |
| Location(s) of laboratory |  |
| Assessment Reference (local) |  |
| Responsible Person |  |

## DSEAR pre- risk assessment checklist for Laboratories

This assessment is to enable researchers to take a proportionate approach to the application of DSEAR for their areas of activity. It is recognised that most research laboratories will not require a full DSEAR risk assessment to be undertaken if they are operated safely. The following checklist will assist to review if an area would require to undertake a full risk assessment

The dangerous substances and explosive atmosphere regulations are mostly concerned with the creation of areas where an explosion is possible or likely. In the context of the University this means bulk stores of flammable solvents, local exhaust ventilation carrying dust, us or production of gasses and experiment where the conditions make an explosion more likely.

If the answer to any all of the questions are YES then no further DSEAR risk assessment is required. This is a general piece of guidance based on HSE advice for ‘Storage of flammable liquids in process areas, workrooms, laboratories and similar working areas’ which can be found here: Storage of flammable liquids in process areas, workrooms, laboratories and similar working areas - HSE Website

|  | YES - all must indicate yes | NO |
| --- | --- | --- |
| Quantity of flammable/ highly flammable solvents under 50L? |  |  |
| Flammable solvents stored in vented cupboards or 30-90 minute rated fire safety cabinets? |  |  |
| Flammable solvents segregated from oxidising agents, acids and highly reactive species? |  |  |
| Laboratory has general mechanical ventilation (not including Local Exhaust Ventilation (LEV))? |  |  |
| Experiments involving flammable substances performed within suitable LEV? |  |  |
| No flammable gasses in use or stored outside of LEV? |  |  |
| No flammable substances being mixed with oxygen/ air in sealed vessels? |  |  |
| All experiments have a suitable COSHH risk assessment in place? |  |  |
| Once completed, you can evidence that you have reviewed the need for a risk assessment in the laboratory and it was not required. It must be signed, dated and dated with a review date. | No further risk assessment is required Signed/Dated Dated | If any are no proceed to full DSEAR risk assessment |

The HSE guidelines referenced above are very general and do not specify size of workspace or technical details such as air changes or ventilation rates. The risk assessor is responsible for completing an appropriate risk assessment, where they judge that the size of a space or other mitigating factor means that a full DSEAR risk assessment is not required they should record that justification.

## Details of dangerous substance(s) involved in the activity1

Include details of all of the dangerous substances that are involved in the process or that might be generated as products (or byproducts).  Include flammable substances, compressed gas cylinders (even if the gas itself is not flammable e.g. argon) combustible dusts and large quantities of susbtances corrosive to metals.

| Substance Name | Physical Form (e.g. solid, dust, liquid, vaour, gas, aerosol) | Hazard Type(s) |  |  |  |  | LEL (Vol %) | UEL (Vol %) | Auto-ignition Temp. (°C) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Explosive | Flammable | Oxidiser2 | Cylinder | Corrosive3 |  |  |  |

- If the activity does not involve any substances with one or more of the five hazard types listed above (including any substances generated during the activity)  it is unlikely that a full DSEAR risk assessment  will be required unless a dust is used or generated during the process.  The risk of fire and explosion should still be considered in the general risk assessment for the activity

- Oxidising agents (oxidisers) act as a source of oxygen and may react with combustible substances or intensify fires.

- Substances that are corrosive to metals should be included as they can damage metal containers / pipework causing leaks (or in some cases react with metals to generate flammable gases).

## Brief description of activity

Brief description of activity

Describe the activity being undertaken and give an overview of any equipment that will be used.  It is acceptable to refer to any relevant standard operating procedures, risk assessments and other supporting documents.  Where such documents are used there is no need to reproduce them here so long as these are easily available to relevant staff and students. Note the general environment of the area the activity is taking place including secondary hazards such as gas cylinders and cryogenic vessels.

## Details of the activity

Record the key hazard information that applies to the activity being undertaken, summarise how risks of fire or explosion might arise and who could be affected if an incident were to take place.  Consider in particular how much flammable / explosive material is used, stored or generated, what ignition sources might be present in the area (e.g. electrical equipment, open flames, static electricity) and the likelihood of a fire or explosion occurring.

| Category of use of potentially flammable / explosive substances or the generation of explosive atmospheres (mark all that apply) | Small Scale |  |  |  | Large Scale |  |  |  |  | Storage Only |  |  | Generation of Material |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Please give relevant details: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Frequency of use (or generation) of dangerous substances during activity | Daily |  |  | Weekly |  |  |  |  | Monthly |  |  |  |  |  | Other |  |  |  |
|  | Please give relevant details: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Amount of substance used during the activity (maximum). | Low (<1l/kg) |  |  | Medium (<10l/kg) |  |  |  |  | High (>10l/kg) |  |  |  |  |  | Other (specify) |  |  |  |
|  | Please give relevant details (include concentrations where relevant) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Give details of any high temperature or high pressure equipment or activities involved in the process. | Please give relevant details: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Potential ignition sources which may be present in the workspace during the activity? | Please give relevant details and type (e.g. thermal, electrical, mechanical, chemical) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Explanation of how substance(s) stored, used or generated could cause fire or explosion. | Please give relevant details: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Who might be placed at risk? Consider individuals who are not involved in the work but may still be affected. | Please give relevant details: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| How might individuals be placed at risk? | Please give relevant details: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Assessment of risk (prior to application of control measures) | Negligible |  |  |  | Low |  |  |  |  | Medium |  |  |  | High |  |  |  |  |
|  | Please give relevant details: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

## Summary of risk control measures

### Workplace / process design systems (relevant to the nature of the activity)

Consider how the workspace and/or process equipment involved in the activity might have an effect on the level of risk and the likelihood of a fire or explsion.  Both should be designed with safety in mind and consideration given to making reasonable changes to existing systems where safety improvements are possible.

| Workspace designed, constructed and maintained for adequate fire resistance? | Yes |  | No |  | N/A |  |
| --- | --- | --- | --- | --- | --- | --- |
| Workspace designed, constructed and maintained for adequate explosion relief? | Yes |  | No |  | N/A |  |
| Explosion resistant plant / equipment used in the activity? | Yes |  | No |  | N/A |  |
| Is there sufficient separation from other hazards? e.g. cryogenic vessels | Yes |  | No |  | N/A |  |
| All equipment designed to minimise the risk of fire and explosion? | Yes |  | No |  | N/A |  |
| Is intrinsically safe / ATEX rated equipment used where needed? | Yes |  | No |  | N/A |  |
| Is equipment operated in such a manner to minimise the risk of fire and explosion? | Yes |  | No |  | N/A |  |
| Safe systems of work developed and communicated to all relevant persons? | Yes |  | No |  | N/A |  |
| Lone working procedures developed and communicated to all relevant personnel | Yes |  | No |  | N/A |  |
| Please give relevant details: |  |  |  |  |  |  |
| Is a permit to work (PTW) system required and is it strictly enforced? | Yes |  | No |  | N/A |  |
| Please give relevant details: |  |  |  |  |  |  |

### Procedural controls

Consider how the risk of fire / explosion can be controlled through the use of appropriate procedural control measures, or in other words how can you carry out the activity in a safer way. This may require you to consider redesigning your process or making changes to your workspace before you begin.

| Quantity of dangerous substance reduced to minimum amount required? | Yes |  | No |  | N/A |  |
| --- | --- | --- | --- | --- | --- | --- |
| Regular cleaning of workplace to prevent accumulation of combustible material? | Yes |  | No |  | N/A |  |
| Avoid or minimise releases (planned or unintentional)? | Yes |  | No |  | N/A |  |
| Control potential releases at the source? | Yes |  | No |  | N/A |  |
| Formation of explosive atmosphere controlled / prevented? | Yes |  | No |  | N/A |  |
| Any releases of flammable materials contained / removed (e.g. ventilation)? | Yes |  | No |  | N/A |  |
| Control measures to avoid adverse conditions (e.g. exceeding temperature limits)? | Yes |  | No |  | N/A |  |
| Are incompatible substances separated during storage and use? | Yes |  | No |  | N/A |  |
| Number of people in hazard area reduced to minimum? | Yes |  | No |  | N/A |  |
| Measures in place to control spread of fire / explosion? | Yes |  | No |  | N/A |  |
| Has suitable PPE been provided and staff trained in its use (see also section 4.8)? | Yes |  | No |  | N/A |  |
| Have all ignition sources been removed from hazard area or adequately controlled? | Yes |  | No |  | N/A |  |
| Has the risk of electrostatic discharge been eliminated? | Yes |  | No |  | N/A |  |
| Is the risk of electrostatic discharge controlled where it cannot be eliminated? | Yes |  | No |  | N/A |  |
| Please give relevant details: |  |  |  |  |  |  |

### Monitoring of potentially flammable / explosive atmospheres

Where there is a risk that a flammable material may leak (or be spilled) giving rise to the risk of a flammable or explosive atmsophere monitoring systems may be required.  The nature of the risk will help to determine the type of equipment required.

| Will fixed monitors equipment for flammable / explosive atmospheres be used? | Yes |  | No |  | N/A |  |
| --- | --- | --- | --- | --- | --- | --- |
| Please give relevant details: |  |  |  |  |  |  |
| Will portable monitors for flammable / explosive atmospheres be used? | Yes |  | No |  | N/A |  |
| Please give relevant details: |  |  |  |  |  |  |
| Are monitoring systems linked directly to alarm systems? | Yes |  | No |  | N/A |  |
| Please give relevant details: |  |  |  |  |  |  |

### Storage of dangerous substances

Please give relevant details:

Flammable substances are often stored in workspaces and dedicated storage facilities.  Stored materials may pose a risk of fire or explosion due to vapour release from containers in normal storage or spillages following an accident.  It is worth noting that HSE ACoP L138 recommends that quantities of flammable liquids stored in workspaces are restricted (<50l for flammable liquids and less than 250l for combustible substances with flashpoints >60°C).

### Transport of dangerous substances

Where there is a need for flammable substances to be transported from one location to another (whether by hand or using a vehicle) the risks of a release should be considered as part of the activitiy.  Remember that accidents which happen outwith the normal workspace may pose risks different risks and require additional control measures / equipment to manage safely.

| Is there a need for dangerous substances to be transported between locations? | Yes |  | No |  | N/A |  |
| --- | --- | --- | --- | --- | --- | --- |
| Are vehicles to be used in the transportation of dangerous substances? | Yes |  | No |  | N/A |  |
| Will suitable secondary containment / packaging be used? | Yes |  | No |  | N/A |  |
| Has a DGSA* been consulted for vehicle transportation? | Yes |  | No |  | N/A |  |
| Are vehicles used fitted with any required placards? | Yes |  | No |  | N/A |  |
| Emergency procedures (and associated equipment) for transport incidents in place? | Yes |  | No |  | N/A |  |
| Has transportation beeen fully considered in supporting risk assessments? | Yes |  | No |  | N/A |  |
| Have personnel involved in transport received appropriate instruction and training? | Yes |  | No |  | N/A |  |
| Please give relevant details: |  |  |  |  |  |  |

*Advice from a qualified Dangerous Goods Safety Adviser (DGSA) can be arranged via the Estates Department, Waste Manager

### Waste management and disposal

When a process generates flammable waste consideration must be given to segregating, storing and disposing of this waste safely and responsibly to minise the risk of adverse chemical reactions, fire and explosion.  Remember that flammable waste must be treated with the same precuations as other flammable chemicals

| Type of Waste (please include details of substances present in mixed waste) | Physical Form (e.g. flammable liquid) | Expected Quantity |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Have safe systems / locations for the storage of waste been identfied? |  | Yes |  | No |  | N/A |  |
| Is incompatible waste segregated effectively? |  | Yes |  | No |  | N/A |  |
| Are appropriate waste containers available? |  | Yes |  | No |  | N/A |  |
| Are waste containers / cabinets properly labelled? |  | Yes |  | No |  | N/A |  |
| Is an accurate waste inventory maintained? |  | Yes |  | No |  | N/A |  |
| Has a safe disposal route been identified (e.g. use of an approved contractor)? |  | Yes |  | No |  | N/A |  |
| Please give relevant details: |  |  |  |  |  |  |  |

### Information, instruction, training and supervision

It is a requirement that staff and students are given suitable and sufficient information, instruction, training and supervision to work safely (this includes working with dangerous substances).

| Has information, instruction and training been provided appropriate to the risk? |  | Yes |  | No |  | N/A |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Please give relevant details: |  |  |  |  |  |  |  |
| Are special instructions / procedures required to carry out this task safely? |  | Yes |  | No |  | N/A |  |
| Please give relevant details: |  |  |  |  |  |  |  |
| Is special training required to safely carry out this task? |  | Yes |  | No |  | N/A |  |
| Please give relevant details: |  |  |  |  |  |  |  |
| Is direct, personal supervision from a competent person required for this task? |  | Yes |  | No |  | N/A |  |
| Please give relevant details: |  |  |  |  |  |  |  |
| Can work be carried out without advice / approval from manager or supervisor? |  | Yes |  | No |  | N/A |  |
| Please give relevant details: |  |  |  |  |  |  |  |
| Is lone working / out of hours working permitted? |  | Yes |  | No |  | N/A |  |
| Please give relevant details: |  |  |  |  |  |  |  |
| Contact details for supervisor / competent person(s) responsible for approval |  |  |  |  |  |  |  |
| Name | Role / Position | Email Address |  |  |  |  |  |

### Personal protective equipment (PPE)

Personal protective equipment should be used in conjunction with other control measures and is usually considered a last resort in the hierarchy of risk control.  Consider all required PPE for the procedure (including PPE which is needed for risks other than fire / explosion).

| Eye Protection | Face Shield | Gloves | Footwear | Protective Clothes |
| --- | --- | --- | --- | --- |
| Dust Mask | Respirator | Powered Respirator | Breathing Apparatus | Other (specify) |

### DSEAR Zones / Control of Explosive Atmospheres*

Consider the need for storage areas or workspaces to be formally designated under the DSEAR Regulations due to the risk of flammable / explosive atmospheres being generated when working with flammable gases, liquids or combustible dusts.  For flammable gases and liquids use zones 0, 1 or 2, for combustible dusts use zone 20, 21, 22.  Further guidance on zones can be found in the DSEAR Guidance Note.

| Is hazardous area classification (zoning) required to determine the level of risk?* | Yes |  | No |  | N/A |  |
| --- | --- | --- | --- | --- | --- | --- |
| *Please contact the Health, Safety and Wellbeing Department for initial guidance on zone classification |  |  |  |  |  |  |
| Description of Area | Classification of Zone |  |  |  |  |  |
| Is specialist equipment (e.g. ATEX rated equipment) required to work safely? | Yes |  | No |  | N/A |  |
| Please give relevant details: |  |  |  |  |  |  |
| Is appropriate “Ex” signage clearly visible at the entrance areas zoned under DSEAR? | Yes |  | No |  | N/A |  |
| Please give relevant details: |  |  |  |  |  |  |
| Are personnel trained in use of specialist equipment and emergency procedures? | Yes |  | No |  | N/A |  |
| Please give relevant details: |  |  |  |  |  |  |

*Note: 	Where an area needs to be formally classified to a DSEAR Zone it is advisable to take advice from the Health, Safety and Wellbeing Department to advise on the process and any additional safety equipment / procedures needed.

## Safe System of Work (to be made available to all relevant staff / students)

Describe safe systems of work to be implemented.  It is acceptable to refer to procedures / documents (e.g. Standard Operating procedures so long as these include relevant safety information.  Where such documents are available there is no need to reproduce them here so long as these are available to relevant staff and students.

Please give relevant details:

## Emergency procedures

| Have emergency procedures been developed (and clearly communicated) for the following? |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Adverse process conditions (e.g. exceeding expected temperature limits) |  |  |  |  |  | Yes |  | No |  |  | N/A |  |
| Fire and explosion |  |  |  |  |  | Yes |  | No |  |  | N/A |  |
| Detection and response to spillages and releases of dangerous substances |  |  |  |  |  | Yes |  | No |  |  | N/A |  |
| Failure of pressurised containers / equipment |  |  |  |  |  | Yes |  | No |  |  | N/A |  |
| Evacuation of hazard areas in the event of a dangerous occurrence |  |  |  |  |  | Yes |  | No |  |  | N/A |  |
| Emergency plans (including evacuation) clearly understood and regularly tested? |  |  |  |  |  | Yes |  | No |  |  | N/A |  |
| Please give relevant details: |  |  |  |  |  |  |  |  |  |  |  |  |
| Spillage or release of material |  |  |  |  |  |  |  |  |  |  |  |  |
| Gas / vapour detection system in place, tested regularly and maintained)? |  |  |  |  |  | Yes |  | No |  |  | N/A |  |
| Spill control / mitigation equipment available in the workspace? |  |  |  |  |  | Yes |  | No |  |  | N/A |  |
| Ventilation strategy in place (where safe to do so)? |  |  |  |  |  | Yes |  | No |  |  | N/A |  |
| Inform competent person (e.g. safety coordinator, principal investigator) |  |  |  |  |  | Yes |  | No |  |  | N/A |  |
| Inform security / emergency services if necessary (major release*) |  |  |  |  |  | Yes |  | No |  |  | N/A |  |
| Please give relevant details: |  |  |  |  |  |  |  |  |  |  |  |  |
| *A major release is considered to be any incident that cannot be safely contained using one standard spill control kit |  |  |  |  |  |  |  |  |  |  |  |  |
| Fire (and exposion) safety precautions |  |  |  |  |  |  |  |  |  |  |  |  |
| Automatic fire detection system (specify type) |  |  |  |  |  | Yes |  | No |  |  | N/A |  |
| Fire alarm system linked to alarm system? |  |  |  |  |  | Yes |  | No |  |  | N/A |  |
| Automatic fire / explosion suppression system installed (specify type)? |  |  |  |  |  | Yes |  | No |  |  | N/A |  |
| Manual / portable fire-fighting equipment (e.g. fire extinguisher*) |  |  |  |  |  | Yes |  | No |  |  | N/A |  |
| Automatic or manual shut-off for flammable gas / liquid supply present? |  |  |  |  |  | Yes |  | No |  |  | N/A |  |
| *Specify type of fire-fighting equipment (tick all that apply in the boxes below) |  |  |  |  |  |  |  |  |  |  |  |  |
| Water | Foam |  | Carbon Dioxide | Dry Powder | Fire Blanket |  |  |  | Other (Specify) |  |  |  |
| Please give relevant details: |  |  |  |  |  |  |  |  |  |  |  |  |
| Emergency Contacts |  |  |  |  |  |  |  |  |  |  |  |  |
| Name |  | Position / Role |  | Contact Number |  | Contact e-mail |  |  |  |  |  |  |

## Assessment verification

| Assessed by |  | Date |  |
| --- | --- | --- | --- |
| Checked and approved by |  | Date |  |
| Date of next review |  |  |  |

## Document version

| Version number | Summary of change | Date and by whom |
| --- | --- | --- |
| 2.0 | Complete refresh after consultation | 17/09/26 C Harrison |

### Alt format

Alternative format statement must be left at the end of each document.

If you require this document in an alternative format please contact The Health, Safety and Wellbeing Department on health.safety@ed.ac.uk or call (0131) 651 4255